    - Pro-Dome

#### The camera shall utilise a 1/4” Colour CCD module with a digital signal processing facility. The sensor will product an image resolution of 470TVL

      - The dome assembly must be comprised of a high-speed pan/tilt assembly, high-resolution color or B/W camera with 242X zoom. The 242X zoom is to be achieved with no less than a 22X optical zoom lens with up to 11X digital zoom magnification. The camera/lens assembly must provide for continuous, full-time auto focus.

      - The pan mechanism must incorporate a sealed precision slip ring to provide 360 of continuous pan rotation. The tilt mechanism must provide for 110 travel. Precise manual panning and tilting must be achievable through a combination of variable speed operator control (speed ranges) and automatic adjustment of these speed ranges dependent upon zoom factor. Pan and Tilt speeds must range from 0.25 to 100 per second. Pan and tilt preset positions must be obtained at a speed of 220 per second.  High-speed, DC servomotors must be used to maintain high torque through the entire operating range. These motors must use pulse width modulation and encoder feedback to control the acceleration, speed, and deceleration of the motors to ensure smooth, precise, accurate and fluid movement. The design shall use direct drive motors and no belt to ensure long term reliable operation.

      - The design of the dome shall not require the use of a bubble indoors to be covert, but should support the option of a clear, smoked, silver or gold bubble.

      - The dome assembly shall contain a built-in multi-protocol receiver/driver for use with matrix switching systems using one of the following protocols: AD Manchester control code and a single 18 AWG shielded twisted pair (STP) to support up to three daisy chained domes a maximum of 1,500 m (5,000 feet), RS422 control code and a single 22 AWG unshielded twisted pair (UTP) to support up to 32 daisy chained domes a maximum of 1,000 m (3,200 feet), SEC RS-422 control code and two pairs of 22 AWG shielded twisted pair (STP) cabling to support up to 10 daisy chained domes a maximum of 1,000 m (3,200 feet) or Baxall-UTC and RG59U video cable to control a dome a maximum of 250 m. The receiver/driver will provide all voltages for camera controls, pan and tilt functions and all motorized lens functions. In addition, the dome shall support selected third party protocols for integration to other systems.

3.25.1.6    The dome must include standard support for unshielded twisted pair dome connections, which allow the use of CAT2 to 6 cabling for transmission of video or video with up-the-coax dome control signals up to 300 meters (1000 feet).

      - The dome shall support 96 Presets and three Patterns. The dome shall also support a Home Position that automatically returns the dome to a Preset or Pattern after a specified period of inactivity, 1-60 minutes. A freeze frame function must be available that maintains a static image on-screen during dome movement and lens adjustment when presets and patterns are called. This freeze frame function helps to preserve hard drive space when a digital video recorder is used.

      - The dome must support a minimum of eight privacy zones to prevent users from viewing sensitive or secured areas. So as not to interfere with normal surveillance operations, these on-screen “shields” must block out only the area that has been defined as sensitive. The privacy zones should not cause the screen to blank out when the sensitive area is within the camera’s field of view. On the monitor, the privacy zones should appear larger or smaller depending on the camera’s zoom factor.

      - The dome must support on-screen programming of dome parameters, including proportional flip, direction indicators and azimuth, maximum zoom stop, line-lock or internal crystal synchronization, AGC, white balance, alarm actions and default states, and home position.  On-screen programming of dome name, 16 Area names, 96 Preset names, three Pattern names, and four alarm names must also be provided.  All of this on-screen programming, as well as the rest of the on-screen displays must be available in the following languages: English, French, Italian, German, Spanish, and Portuguese.

3.25.1.10  Quick Set menu must be to provide easy access to common dome settings when installed with compatible controllers. This Quick Set menu must provide access to the following features: dome configuration menu, auto iris/auto focus resume, flip, default apple peel pattern, activate smooth scan, activate stepped scan, activate random scan, and displaying the dome information screen.

      - Password protection must be provided to prevent unauthorized access.

      - Dome direction indicators and azimuth reading; Dome, Area, Preset, Pattern, and alarm names; and zoom, focus, and iris status must be displayable on the monitor. All on-screen text character attributes must be user-selectable solid or translucent white, with or without black outline.

      - On-screen display of dome usage statistics must be available. This usage information must provide a record of the number of pan, tilt, and zoom commands issued by the dome; operating time, time from last reset in seconds and total reset count.

      - The dome assembly design shall contain a single alarm input as standard or four alarm inputs as an option and be field programmable to receive “normally open” or “normally closed” contacts. If operating on a RS-422 network, the dome shall be capable of receiving the alarm and transmitting the alarm back to the switching system and/or reacting to the alarm event independent of the switching system.  If operating on a Manchester network, the dome must be able to process the alarm internally, and automatically activate a Preset or Pattern.

      - The dome assembly shall contain a single auxiliary output as standard or four independent auxiliary outputs as an option. Each open collector output must respond as momentary or latching (depending on system capability).

      - The open collector of each auxiliary shall be required to handle + 12 VDC at a maximum of 40 milliamps.

      - The complete dome assembly must be capable of operating to full specification with an applied voltage of 18 to 30 VAC at a frequency of 50 or 60 Hertz and meet Class 2 standards. The power consumption cannot exceed 16 watts with all functions operating. The dome assembly shall have surge protection for the video, communications, power, and alarm connections.

      - The camera shall be a ¼-inch CCD interline transfer device. Color model shall provide a minimum horizontal resolution of 470 lines with a usable video signal with a scene illumination of better than 0.3 Lux (20 IRE with AGC on) and 0.02 Lux (with an open shutter selection of 1/4 sec). Black and white model shall provide a minimum horizontal resolution of 500 lines with a usable video signal with a scene illumination of 0.008 Lux (20 IRE with AGC on) and 0.004 Lux (with an open shutter selection of 1/4 sec).

      - The video output synchronization shall be 2:1 interlace and will observe the NTSC or PAL (color models) or EIA RS-170 or CCIR (black & white models) standards. Line-lock with an adjustable vertical phase must also be provided.

      - The lens must be a colour corrected, 4-88 mm, F1.6 and must have continuous auto focus with manual override. The lens must also have auto-iris with manual iris override. The auto focus and auto iris resume settings shall be configurable via on-screen menu settings.

      - The dome shall incorporate a twist-lock release base for ease of installation and service. Two versions of the twist-lock base must be available. A standard base will enable the installer to wire directly the dome’s housing/eyeball assembly before twisting the assembly onto the base. This standard base option shall support one alarm input and one auxiliary output. A second base that enables the installer to wire the appropriate cables onto an I/O board contained within the twist-lock base must also be available. The I/O base enables wiring to be completed once, and for the housing/eyeball assembly to be connected and disconnected to the twist-lock base without disturbing the wires or connections. This I/O base option shall support four alarm inputs and four auxiliary outputs. Each base will include diagnostic LED’s to indicate power and proper communications to and from the matrix.

      - An installation tool that enables service personnel to connect and disconnect the housing/eyeball assembly without the use of a ladder or lift must be available. The dome and bases must be available separately so qualified personnel prior to the purchase of the dome or housing/eyeball assembly can accomplish installation of the bases. An outdoor housing must also be available and shall provide for the same ease of installation and service.

      - Upon initial power up and after dome resets, diagnostic tests must be run, including communication loop-back, camera loop-back, and motor circuit tests.  The results of these tests must be displayable on the monitor. After initialization, the dome shall automatically pan, tilt and zoom to its previous position.

      - The dome shall be a Baxall BPD0 – Monochrome version

      - The dome shall be a Baxall BPD1 – Colour version

      - The dome shall be a Baxall BPD2 – Colour/Mono Switchable version